## settings
Inputs | Options
Functional relationship: | quantity*D
Method of computation: | external_montecarlo
There are correlations: | no

## inputs
Label | Unit
quantity | m³
D | kg/m³

## outputs
Outputs | Label | Unit
Output variable: | M | kg/s
Std. comb. unc: | U_{M} | kg/s
Std. rel. comb. unc. | u_rel_{M}

## values
DateTime | M | units
2022-04-07 | 8.667e-22 | kg/s
2022-04-07 01:00 | 8.6669e-22 | kg/s
2022-04-07 02:00 | 8.6682e-22 | kg/s
2022-04-07 03:00 | 8.6713e-22 | kg/s
2022-04-07 04:00 | 0.00095484 | kg/s
2022-04-07 05:00 | 0.021869 | kg/s
2022-04-07 06:00 | 0.060219 | kg/s
2022-04-07 07:00 | 0.082477 | kg/s
2022-04-07 08:00 | 0.074157 | kg/s
2022-04-07 09:00 | 0.087402 | kg/s
2022-04-07 10:00 | 0.11128 | kg/s
2022-04-07 11:00 | 0.13281 | kg/s
2022-04-07 12:00 | 0.15866 | kg/s
2022-04-07 13:00 | 0.15614 | kg/s
2022-04-07 14:00 | 0.095724 | kg/s
2022-04-07 15:00 | 0.092447 | kg/s
2022-04-07 16:00 | 0.10258 | kg/s
2022-04-07 17:00 | 0.096412 | kg/s
2022-04-07 18:00 | 0.095985 | kg/s
2022-04-07 19:00 | 0.11609 | kg/s
2022-04-07 20:00 | 0.1497 | kg/s
2022-04-07 21:00 | 0.14208 | kg/s
2022-04-07 22:00 | 0.11844 | kg/s
2022-04-07 23:00 | 0.12007 | kg/s
2022-04-08 | 0.15644 | kg/s
2022-04-08 01:00 | 0.14174 | kg/s
2022-04-08 02:00 | 0.18534 | kg/s
2022-04-08 03:00 | 0.17136 | kg/s
2022-04-08 04:00 | 0.16419 | kg/s
2022-04-08 05:00 | 0.15874 | kg/s
2022-04-08 06:00 | 0.13199 | kg/s
2022-04-08 07:00 | 0.13501 | kg/s
2022-04-08 08:00 | 0.17006 | kg/s
2022-04-08 09:00 | 0.17579 | kg/s
2022-04-08 10:00 | 0.15772 | kg/s
2022-04-08 11:00 | 0.14615 | kg/s
2022-04-08 12:00 | 0.19868 | kg/s
2022-04-08 13:00 | 0.25512 | kg/s
2022-04-08 14:00 | 0.2589 | kg/s
2022-04-08 15:00 | 0.25347 | kg/s
2022-04-08 16:00 | 0.25042 | kg/s
2022-04-08 17:00 | 0.29187 | kg/s
2022-04-08 18:00 | 0.26969 | kg/s
2022-04-08 19:00 | 0.28676 | kg/s
2022-04-08 20:00 | 0.27841 | kg/s
2022-04-08 21:00 | 0.27273 | kg/s
2022-04-08 22:00 | 0.27236 | kg/s
2022-04-08 23:00 | 0.29564 | kg/s
2022-04-09 | 0.27044 | kg/s
2022-04-09 01:00 | 0.27104 | kg/s
2022-04-09 02:00 | 0.28645 | kg/s
2022-04-09 03:00 | 0.28595 | kg/s
2022-04-09 04:00 | 0.25294 | kg/s
2022-04-09 05:00 | 0.25539 | kg/s
2022-04-09 06:00 | 0.27254 | kg/s
2022-04-09 07:00 | 0.31167 | kg/s
2022-04-09 08:00 | 0.31145 | kg/s
2022-04-09 09:00 | 0.28306 | kg/s
2022-04-09 10:00 | 0.26649 | kg/s
2022-04-09 11:00 | 0.28649 | kg/s
2022-04-09 12:00 | 0.25627 | kg/s
2022-04-09 13:00 | 0.27494 | kg/s
2022-04-09 14:00 | 0.28201 | kg/s
2022-04-09 15:00 | 0.29415 | kg/s
2022-04-09 16:00 | 0.27206 | kg/s
2022-04-09 17:00 | 0.21346 | kg/s
2022-04-09 18:00 | 0.17888 | kg/s
2022-04-09 19:00 | 0.22148 | kg/s
2022-04-09 20:00 | 0.18822 | kg/s
2022-04-09 21:00 | 0.17866 | kg/s
2022-04-09 22:00 | 0.19776 | kg/s
2022-04-09 23:00 | 0.18703 | kg/s
2022-04-10 | 0.16515 | kg/s
2022-04-10 01:00 | 0.20196 | kg/s
2022-04-10 02:00 | 0.22891 | kg/s
2022-04-10 03:00 | 0.21629 | kg/s
2022-04-10 04:00 | 0.19863 | kg/s
2022-04-10 05:00 | 0.18872 | kg/s
2022-04-10 06:00 | 0.18548 | kg/s
2022-04-10 07:00 | 0.21275 | kg/s
2022-04-10 08:00 | 0.20107 | kg/s
2022-04-10 09:00 | 0.2188 | kg/s
2022-04-10 10:00 | 0.21336 | kg/s
2022-04-10 11:00 | 0.2294 | kg/s
2022-04-10 12:00 | 0.24371 | kg/s
2022-04-10 13:00 | 0.23596 | kg/s
2022-04-10 14:00 | 0.24432 | kg/s
2022-04-10 15:00 | 0.23662 | kg/s
2022-04-10 16:00 | 0.2349 | kg/s
2022-04-10 17:00 | 0.24061 | kg/s
2022-04-10 18:00 | 0.23386 | kg/s
2022-04-10 19:00 | 0.22567 | kg/s
2022-04-10 20:00 | 0.24223 | kg/s
2022-04-10 21:00 | 0.23357 | kg/s
2022-04-10 22:00 | 0.24876 | kg/s
2022-04-10 23:00 | 0.24714 | kg/s
2022-04-11 | 0.25562 | kg/s
2022-04-11 01:00 | 0.25899 | kg/s
2022-04-11 02:00 | 0.26571 | kg/s
2022-04-11 03:00 | 0.17627 | kg/s
2022-04-11 04:00 | 0.15788 | kg/s
2022-04-11 05:00 | 0.15433 | kg/s
2022-04-11 06:00 | 0.089865 | kg/s
2022-04-11 07:00 | 0.15805 | kg/s
2022-04-11 08:00 | 0.16101 | kg/s
2022-04-11 09:00 | 0.11741 | kg/s
2022-04-11 10:00 | 0.084841 | kg/s
2022-04-11 11:00 | 0.085564 | kg/s
2022-04-11 12:00 | 0.092502 | kg/s
2022-04-11 13:00 | 0.13667 | kg/s
2022-04-11 14:00 | 0.11923 | kg/s
2022-04-11 15:00 | 0.10155 | kg/s
2022-04-11 16:00 | 0.13813 | kg/s
2022-04-11 17:00 | 0.15004 | kg/s
2022-04-11 18:00 | 0.14113 | kg/s
2022-04-11 19:00 | 0.12786 | kg/s
2022-04-11 20:00 | 0.11789 | kg/s
2022-04-11 21:00 | 0.082875 | kg/s
2022-04-11 22:00 | 0.08319 | kg/s
2022-04-11 23:00 | 0.031313 | kg/s
2022-04-12 | 0.039376 | kg/s
2022-04-12 01:00 | 0.10298 | kg/s
2022-04-12 02:00 | 0.091644 | kg/s
2022-04-12 03:00 | 0.069304 | kg/s
2022-04-12 04:00 | 0.062065 | kg/s
2022-04-12 05:00 | 0.06793 | kg/s
2022-04-12 06:00 | 0.092969 | kg/s
2022-04-12 07:00 | 0.065481 | kg/s
2022-04-12 08:00 | 0.062992 | kg/s
2022-04-12 09:00 | 0.049428 | kg/s
2022-04-12 10:00 | 0.068489 | kg/s
2022-04-12 11:00 | 0.030783 | kg/s
2022-04-12 12:00 | 0.026074 | kg/s
2022-04-12 13:00 | 0.027094 | kg/s
2022-04-12 14:00 | 0.048421 | kg/s
2022-04-12 15:00 | 0.049235 | kg/s
2022-04-12 16:00 | 0.045708 | kg/s
2022-04-12 17:00 | 8.6705e-22 | kg/s
2022-04-12 18:00 | 0.0017273 | kg/s
2022-04-12 19:00 | 0.014666 | kg/s
2022-04-12 20:00 | 0.021384 | kg/s
2022-04-12 21:00 | 0.016701 | kg/s
2022-04-12 22:00 | 0.02152 | kg/s
2022-04-12 23:00 | 0.0064295 | kg/s

## uncertainties
DateTime | Abs_M | M | units
2022-04-07 | TRUE | 8.8367e-24 | kg/s
2022-04-07 01:00 | TRUE | 9.3309e-24 | kg/s
2022-04-07 02:00 | TRUE | 8.6297e-24 | kg/s
2022-04-07 03:00 | TRUE | 9.3002e-24 | kg/s
2022-04-07 04:00 | TRUE | 1.0392e-05 | kg/s
2022-04-07 05:00 | TRUE | 0.00023493 | kg/s
2022-04-07 06:00 | TRUE | 0.00038661 | kg/s
2022-04-07 07:00 | TRUE | 0.00051559 | kg/s
2022-04-07 08:00 | TRUE | 0.00043519 | kg/s
2022-04-07 09:00 | TRUE | 0.00050084 | kg/s
2022-04-07 10:00 | TRUE | 0.00066494 | kg/s
2022-04-07 11:00 | TRUE | 0.00054889 | kg/s
2022-04-07 12:00 | TRUE | 0.00060562 | kg/s
2022-04-07 13:00 | TRUE | 0.00061482 | kg/s
2022-04-07 14:00 | TRUE | 0.00053212 | kg/s
2022-04-07 15:00 | TRUE | 0.00049911 | kg/s
2022-04-07 16:00 | TRUE | 0.00057918 | kg/s
2022-04-07 17:00 | TRUE | 0.00056322 | kg/s
2022-04-07 18:00 | TRUE | 0.000563 | kg/s
2022-04-07 19:00 | TRUE | 0.00066329 | kg/s
2022-04-07 20:00 | TRUE | 0.00063174 | kg/s
2022-04-07 21:00 | TRUE | 0.00056522 | kg/s
2022-04-07 22:00 | TRUE | 0.0007474 | kg/s
2022-04-07 23:00 | TRUE | 0.00068162 | kg/s
2022-04-08 | TRUE | 0.00063983 | kg/s
2022-04-08 01:00 | TRUE | 0.0005617 | kg/s
2022-04-08 02:00 | TRUE | 0.00071585 | kg/s
2022-04-08 03:00 | TRUE | 0.00064541 | kg/s
2022-04-08 04:00 | TRUE | 0.00071427 | kg/s
2022-04-08 05:00 | TRUE | 0.00064038 | kg/s
2022-04-08 06:00 | TRUE | 0.00052617 | kg/s
2022-04-08 07:00 | TRUE | 0.00056958 | kg/s
2022-04-08 08:00 | TRUE | 0.00062452 | kg/s
2022-04-08 09:00 | TRUE | 0.00074116 | kg/s
2022-04-08 10:00 | TRUE | 0.00068109 | kg/s
2022-04-08 11:00 | TRUE | 0.00056355 | kg/s
2022-04-08 12:00 | TRUE | 0.0008156 | kg/s
2022-04-08 13:00 | TRUE | 0.0010024 | kg/s
2022-04-08 14:00 | TRUE | 0.0010234 | kg/s
2022-04-08 15:00 | TRUE | 0.0010374 | kg/s
2022-04-08 16:00 | TRUE | 0.0010065 | kg/s
2022-04-08 17:00 | TRUE | 0.0011788 | kg/s
2022-04-08 18:00 | TRUE | 0.0011398 | kg/s
2022-04-08 19:00 | TRUE | 0.0011652 | kg/s
2022-04-08 20:00 | TRUE | 0.0012025 | kg/s
2022-04-08 21:00 | TRUE | 0.0010896 | kg/s
2022-04-08 22:00 | TRUE | 0.0011431 | kg/s
2022-04-08 23:00 | TRUE | 0.0012185 | kg/s
2022-04-09 | TRUE | 0.0010899 | kg/s
2022-04-09 01:00 | TRUE | 0.001147 | kg/s
2022-04-09 02:00 | TRUE | 0.0012031 | kg/s
2022-04-09 03:00 | TRUE | 0.00112 | kg/s
2022-04-09 04:00 | TRUE | 0.00094765 | kg/s
2022-04-09 05:00 | TRUE | 0.0010615 | kg/s
2022-04-09 06:00 | TRUE | 0.00099516 | kg/s
2022-04-09 07:00 | TRUE | 0.0012833 | kg/s
2022-04-09 08:00 | TRUE | 0.0012464 | kg/s
2022-04-09 09:00 | TRUE | 0.0010009 | kg/s
2022-04-09 10:00 | TRUE | 0.0010822 | kg/s
2022-04-09 11:00 | TRUE | 0.0011488 | kg/s
2022-04-09 12:00 | TRUE | 0.00097253 | kg/s
2022-04-09 13:00 | TRUE | 0.0011073 | kg/s
2022-04-09 14:00 | TRUE | 0.0010077 | kg/s
2022-04-09 15:00 | TRUE | 0.0011707 | kg/s
2022-04-09 16:00 | TRUE | 0.0010591 | kg/s
2022-04-09 17:00 | TRUE | 0.00084445 | kg/s
2022-04-09 18:00 | TRUE | 0.0007388 | kg/s
2022-04-09 19:00 | TRUE | 0.00078215 | kg/s
2022-04-09 20:00 | TRUE | 0.00076703 | kg/s
2022-04-09 21:00 | TRUE | 0.00073389 | kg/s
2022-04-09 22:00 | TRUE | 0.00074294 | kg/s
2022-04-09 23:00 | TRUE | 0.00077659 | kg/s
2022-04-10 | TRUE | 0.00065189 | kg/s
2022-04-10 01:00 | TRUE | 0.00083614 | kg/s
2022-04-10 02:00 | TRUE | 0.00088572 | kg/s
2022-04-10 03:00 | TRUE | 0.00084351 | kg/s
2022-04-10 04:00 | TRUE | 0.00077519 | kg/s
2022-04-10 05:00 | TRUE | 0.00072944 | kg/s
2022-04-10 06:00 | TRUE | 0.00076566 | kg/s
2022-04-10 07:00 | TRUE | 0.0008193 | kg/s
2022-04-10 08:00 | TRUE | 0.00081519 | kg/s
2022-04-10 09:00 | TRUE | 0.00087666 | kg/s
2022-04-10 10:00 | TRUE | 0.00088014 | kg/s
2022-04-10 11:00 | TRUE | 0.00081787 | kg/s
2022-04-10 12:00 | TRUE | 0.00096773 | kg/s
2022-04-10 13:00 | TRUE | 0.00092013 | kg/s
2022-04-10 14:00 | TRUE | 0.00095723 | kg/s
2022-04-10 15:00 | TRUE | 0.00094522 | kg/s
2022-04-10 16:00 | TRUE | 0.00084904 | kg/s
2022-04-10 17:00 | TRUE | 0.0010141 | kg/s
2022-04-10 18:00 | TRUE | 0.00094268 | kg/s
2022-04-10 19:00 | TRUE | 0.00085636 | kg/s
2022-04-10 20:00 | TRUE | 0.0010645 | kg/s
2022-04-10 21:00 | TRUE | 0.00088902 | kg/s
2022-04-10 22:00 | TRUE | 0.0010325 | kg/s
2022-04-10 23:00 | TRUE | 0.00092177 | kg/s
2022-04-11 | TRUE | 0.0010094 | kg/s
2022-04-11 01:00 | TRUE | 0.001068 | kg/s
2022-04-11 02:00 | TRUE | 0.00099254 | kg/s
2022-04-11 03:00 | TRUE | 0.00068086 | kg/s
2022-04-11 04:00 | TRUE | 0.00063014 | kg/s
2022-04-11 05:00 | TRUE | 0.00059894 | kg/s
2022-04-11 06:00 | TRUE | 0.00057601 | kg/s
2022-04-11 07:00 | TRUE | 0.00063665 | kg/s
2022-04-11 08:00 | TRUE | 0.0006776 | kg/s
2022-04-11 09:00 | TRUE | 0.00071318 | kg/s
2022-04-11 10:00 | TRUE | 0.00049083 | kg/s
2022-04-11 11:00 | TRUE | 0.00048868 | kg/s
2022-04-11 12:00 | TRUE | 0.00052652 | kg/s
2022-04-11 13:00 | TRUE | 0.00056532 | kg/s
2022-04-11 14:00 | TRUE | 0.00070988 | kg/s
2022-04-11 15:00 | TRUE | 0.00063489 | kg/s
2022-04-11 16:00 | TRUE | 0.0005877 | kg/s
2022-04-11 17:00 | TRUE | 0.00061277 | kg/s
2022-04-11 18:00 | TRUE | 0.00057849 | kg/s
2022-04-11 19:00 | TRUE | 0.00048686 | kg/s
2022-04-11 20:00 | TRUE | 0.00069594 | kg/s
2022-04-11 21:00 | TRUE | 0.00046872 | kg/s
2022-04-11 22:00 | TRUE | 0.00048368 | kg/s
2022-04-11 23:00 | TRUE | 0.00032978 | kg/s
2022-04-12 | TRUE | 0.00023662 | kg/s
2022-04-12 01:00 | TRUE | 0.0006132 | kg/s
2022-04-12 02:00 | TRUE | 0.0005083 | kg/s
2022-04-12 03:00 | TRUE | 0.0003977 | kg/s
2022-04-12 04:00 | TRUE | 0.00038408 | kg/s
2022-04-12 05:00 | TRUE | 0.00039653 | kg/s
2022-04-12 06:00 | TRUE | 0.00055867 | kg/s
2022-04-12 07:00 | TRUE | 0.00039407 | kg/s
2022-04-12 08:00 | TRUE | 0.00037689 | kg/s
2022-04-12 09:00 | TRUE | 0.00028167 | kg/s
2022-04-12 10:00 | TRUE | 0.00038989 | kg/s
2022-04-12 11:00 | TRUE | 0.0003253 | kg/s
2022-04-12 12:00 | TRUE | 0.00026819 | kg/s
2022-04-12 13:00 | TRUE | 0.00028944 | kg/s
2022-04-12 14:00 | TRUE | 0.00028418 | kg/s
2022-04-12 15:00 | TRUE | 0.00027346 | kg/s
2022-04-12 16:00 | TRUE | 0.00027096 | kg/s
2022-04-12 17:00 | TRUE | 9.2309e-24 | kg/s
2022-04-12 18:00 | TRUE | 1.854e-05 | kg/s
2022-04-12 19:00 | TRUE | 0.00015561 | kg/s
2022-04-12 20:00 | TRUE | 0.00023381 | kg/s
2022-04-12 21:00 | TRUE | 0.0001742 | kg/s
2022-04-12 22:00 | TRUE | 0.00022559 | kg/s
2022-04-12 23:00 | TRUE | 6.8695e-05 | kg/s

## rel_uncertainties
DateTime | M
2022-04-07 | 0.010196
2022-04-07 01:00 | 0.010766
2022-04-07 02:00 | 0.0099556
2022-04-07 03:00 | 0.010725
2022-04-07 04:00 | 0.010884
2022-04-07 05:00 | 0.010742
2022-04-07 06:00 | 0.0064201
2022-04-07 07:00 | 0.0062513
2022-04-07 08:00 | 0.0058684
2022-04-07 09:00 | 0.0057303
2022-04-07 10:00 | 0.0059755
2022-04-07 11:00 | 0.004133
2022-04-07 12:00 | 0.0038172
2022-04-07 13:00 | 0.0039376
2022-04-07 14:00 | 0.005559
2022-04-07 15:00 | 0.0053988
2022-04-07 16:00 | 0.0056461
2022-04-07 17:00 | 0.0058418
2022-04-07 18:00 | 0.0058655
2022-04-07 19:00 | 0.0057138
2022-04-07 20:00 | 0.0042201
2022-04-07 21:00 | 0.0039782
2022-04-07 22:00 | 0.0063106
2022-04-07 23:00 | 0.0056768
2022-04-08 | 0.00409
2022-04-08 01:00 | 0.003963
2022-04-08 02:00 | 0.0038625
2022-04-08 03:00 | 0.0037664
2022-04-08 04:00 | 0.0043504
2022-04-08 05:00 | 0.0040342
2022-04-08 06:00 | 0.0039866
2022-04-08 07:00 | 0.0042189
2022-04-08 08:00 | 0.0036723
2022-04-08 09:00 | 0.0042163
2022-04-08 10:00 | 0.0043183
2022-04-08 11:00 | 0.003856
2022-04-08 12:00 | 0.0041051
2022-04-08 13:00 | 0.003929
2022-04-08 14:00 | 0.003953
2022-04-08 15:00 | 0.0040928
2022-04-08 16:00 | 0.0040193
2022-04-08 17:00 | 0.0040388
2022-04-08 18:00 | 0.0042263
2022-04-08 19:00 | 0.0040632
2022-04-08 20:00 | 0.0043193
2022-04-08 21:00 | 0.0039952
2022-04-08 22:00 | 0.0041968
2022-04-08 23:00 | 0.0041214
2022-04-09 | 0.00403
2022-04-09 01:00 | 0.0042317
2022-04-09 02:00 | 0.0042001
2022-04-09 03:00 | 0.0039169
2022-04-09 04:00 | 0.0037465
2022-04-09 05:00 | 0.0041562
2022-04-09 06:00 | 0.0036514
2022-04-09 07:00 | 0.0041174
2022-04-09 08:00 | 0.0040018
2022-04-09 09:00 | 0.0035361
2022-04-09 10:00 | 0.004061
2022-04-09 11:00 | 0.00401
2022-04-09 12:00 | 0.003795
2022-04-09 13:00 | 0.0040274
2022-04-09 14:00 | 0.0035735
2022-04-09 15:00 | 0.0039799
2022-04-09 16:00 | 0.0038929
2022-04-09 17:00 | 0.003956
2022-04-09 18:00 | 0.0041301
2022-04-09 19:00 | 0.0035315
2022-04-09 20:00 | 0.0040753
2022-04-09 21:00 | 0.0041077
2022-04-09 22:00 | 0.0037567
2022-04-09 23:00 | 0.0041522
2022-04-10 | 0.0039473
2022-04-10 01:00 | 0.0041401
2022-04-10 02:00 | 0.0038693
2022-04-10 03:00 | 0.0038999
2022-04-10 04:00 | 0.0039028
2022-04-10 05:00 | 0.0038651
2022-04-10 06:00 | 0.004128
2022-04-10 07:00 | 0.0038511
2022-04-10 08:00 | 0.0040543
2022-04-10 09:00 | 0.0040067
2022-04-10 10:00 | 0.0041251
2022-04-10 11:00 | 0.0035652
2022-04-10 12:00 | 0.0039708
2022-04-10 13:00 | 0.0038994
2022-04-10 14:00 | 0.0039179
2022-04-10 15:00 | 0.0039946
2022-04-10 16:00 | 0.0036145
2022-04-10 17:00 | 0.0042145
2022-04-10 18:00 | 0.0040309
2022-04-10 19:00 | 0.0037947
2022-04-10 20:00 | 0.0043947
2022-04-10 21:00 | 0.0038063
2022-04-10 22:00 | 0.0041506
2022-04-10 23:00 | 0.0037298
2022-04-11 | 0.0039488
2022-04-11 01:00 | 0.0041238
2022-04-11 02:00 | 0.0037354
2022-04-11 03:00 | 0.0038625
2022-04-11 04:00 | 0.0039911
2022-04-11 05:00 | 0.0038808
2022-04-11 06:00 | 0.0064097
2022-04-11 07:00 | 0.0040282
2022-04-11 08:00 | 0.0042085
2022-04-11 09:00 | 0.0060742
2022-04-11 10:00 | 0.0057853
2022-04-11 11:00 | 0.0057113
2022-04-11 12:00 | 0.0056919
2022-04-11 13:00 | 0.0041366
2022-04-11 14:00 | 0.0059539
2022-04-11 15:00 | 0.0062522
2022-04-11 16:00 | 0.0042546
2022-04-11 17:00 | 0.0040841
2022-04-11 18:00 | 0.0040991
2022-04-11 19:00 | 0.0038077
2022-04-11 20:00 | 0.0059033
2022-04-11 21:00 | 0.0056557
2022-04-11 22:00 | 0.0058141
2022-04-11 23:00 | 0.010532
2022-04-12 | 0.0060091
2022-04-12 01:00 | 0.0059543
2022-04-12 02:00 | 0.0055465
2022-04-12 03:00 | 0.0057386
2022-04-12 04:00 | 0.0061884
2022-04-12 05:00 | 0.0058373
2022-04-12 06:00 | 0.0060093
2022-04-12 07:00 | 0.006018
2022-04-12 08:00 | 0.0059832
2022-04-12 09:00 | 0.0056986
2022-04-12 10:00 | 0.0056928
2022-04-12 11:00 | 0.010568
2022-04-12 12:00 | 0.010286
2022-04-12 13:00 | 0.010683
2022-04-12 14:00 | 0.0058689
2022-04-12 15:00 | 0.0055542
2022-04-12 16:00 | 0.005928
2022-04-12 17:00 | 0.010646
2022-04-12 18:00 | 0.010733
2022-04-12 19:00 | 0.01061
2022-04-12 20:00 | 0.010934
2022-04-12 21:00 | 0.01043
2022-04-12 22:00 | 0.010483
2022-04-12 23:00 | 0.010684

## input_uncertainties
quantity | D
1.0882e-23 | 0.0085342
1.0768e-23 | 0.0085115
1.1014e-23 | 0.0084323
1.1254e-23 | 0.0085955
1.2757e-05 | 0.0083293
0.00030433 | 0.0083956
0.00042252 | 0.0086036
0.00058206 | 0.0083808
0.00051715 | 0.0085661
0.00062712 | 0.0089629
0.00078817 | 0.008464
0.00047567 | 0.008486
0.00053888 | 0.0085138
0.00053632 | 0.0084536
0.00065538 | 0.0085735
0.00061178 | 0.0084697
0.00068947 | 0.0085834
0.00065427 | 0.0088381
0.00064481 | 0.0084515
0.0008029 | 0.0085963
0.00051065 | 0.0085991
0.00049395 | 0.008301
0.00082491 | 0.0084294
0.00083889 | 0.0086377
0.00056039 | 0.0086668
0.0005339 | 0.008454
0.00065614 | 0.0086922
0.00060163 | 0.0084712
0.00056354 | 0.0086093
0.00054378 | 0.0087495
0.00045205 | 0.0084529
0.00046641 | 0.0085802
0.00060212 | 0.0085758
0.00062256 | 0.0088069
0.00056807 | 0.0083774
0.00052283 | 0.0085324
0.00073726 | 0.0087577
0.00092756 | 0.0081895
0.00092139 | 0.0085275
0.00094637 | 0.0085087
0.00089455 | 0.0085551
0.0010631 | 0.0085139
0.00096728 | 0.0083553
0.0010217 | 0.0088201
0.00099157 | 0.008836
0.00098167 | 0.0086385
0.00097736 | 0.0084316
0.0010411 | 0.0082124
0.00095246 | 0.0086228
0.00096305 | 0.008699
0.00099669 | 0.0084137
0.00099644 | 0.0085378
0.0008871 | 0.008521
0.00091972 | 0.0087235
0.00095203 | 0.0083041
0.0010893 | 0.0083286
0.0010891 | 0.0086022
0.00095369 | 0.0084997
0.00088844 | 0.0084279
0.00097523 | 0.0082955
0.00086574 | 0.0083652
0.00093085 | 0.008397
0.0009606 | 0.008499
0.0010156 | 0.0086737
0.0009126 | 0.0086816
0.00073012 | 0.0084969
0.00062326 | 0.0084051
0.0007922 | 0.0085032
0.00065918 | 0.0085681
0.00062276 | 0.0086318
0.00070767 | 0.0084081
0.00068149 | 0.0085803
0.00059189 | 0.0086007
0.00072427 | 0.0088022
0.00080725 | 0.0085474
0.00075101 | 0.0085576
0.00067495 | 0.0082954
0.00064963 | 0.0085729
0.00064684 | 0.0084556
0.00075389 | 0.0085868
0.00069842 | 0.0089099
0.00079691 | 0.0083722
0.00075293 | 0.0085714
0.00079991 | 0.0088
0.00084807 | 0.0085048
0.00082886 | 0.0083819
0.00084587 | 0.0085369
0.00083237 | 0.0085755
0.00081935 | 0.0084664
0.00082695 | 0.0084764
0.00080865 | 0.008729
0.00079117 | 0.0084631
0.00086391 | 0.0085935
0.00081711 | 0.0084342
0.00088598 | 0.0084814
0.00084603 | 0.0083481
0.0009029 | 0.0084868
0.0009036 | 0.008667
0.0009467 | 0.0086888
0.00059592 | 0.0084404
0.00053293 | 0.0084067
0.00051572 | 0.0088257
0.00062357 | 0.0084779
0.00054988 | 0.0086855
0.00055954 | 0.0088001
0.00080438 | 0.0085309
0.00058216 | 0.0086971
0.00058794 | 0.0083138
0.00064719 | 0.0082596
0.00048278 | 0.0083628
0.00082869 | 0.0085418
0.0007191 | 0.00855
0.00049307 | 0.0085979
0.00053961 | 0.0084158
0.00050283 | 0.0087066
0.00045864 | 0.0083932
0.00079597 | 0.0084528
0.00056289 | 0.0085082
0.00055343 | 0.0085513
0.00042096 | 0.00862
0.00028072 | 0.0085552
0.00070381 | 0.0084025
0.00062156 | 0.0084781
0.00047262 | 0.0087648
0.00042699 | 0.0088337
0.00046508 | 0.0088694
0.00063265 | 0.0085483
0.0004475 | 0.0083209
0.00042844 | 0.008629
0.00033645 | 0.0086514
0.00046178 | 0.00834
0.00042809 | 0.0083277
0.00036151 | 0.0078484
0.00038471 | 0.0080528
0.00033805 | 0.0082721
0.0003382 | 0.0082403
0.00030925 | 0.0085448
1.2312e-23 | 0.0077204
2.479e-05 | 0.0080647
0.00021638 | 0.0084021
0.00030413 | 0.0082741
0.00022907 | 0.0083961
0.00028867 | 0.0081353
8.7681e-05 | 0.00892

## input_uncertainty_confidences
quantity | D
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95
0.95 | 0.95

## input_uncertainty_distributions
quantity | D
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal
Normal | Normal

## sensitivity_coefficients
DateTime | quantity | D
2022-04-07 |  | 0.99727
2022-04-07 01:00 |  | 0.9973
2022-04-07 02:00 |  | 0.9973
2022-04-07 03:00 |  | 0.99716
2022-04-07 04:00 | 0.98994 | 0.99716
2022-04-07 05:00 | 0.98982 | 0.99705
2022-04-07 06:00 | 0.99487 | 0.99696
2022-04-07 07:00 | 0.99486 | 0.99703
2022-04-07 08:00 | 0.99496 | 0.99694
2022-04-07 09:00 | 0.99489 | 0.99675
2022-04-07 10:00 | 0.995 | 0.99691
2022-04-07 11:00 | 0.99744 | 0.99692
2022-04-07 12:00 | 0.99749 | 0.99701
2022-04-07 13:00 | 0.99739 | 0.99712
2022-04-07 14:00 | 0.99475 | 0.99711
2022-04-07 15:00 | 0.99496 | 0.99713
2022-04-07 16:00 | 0.99491 | 0.99707
2022-04-07 17:00 | 0.99487 | 0.99698
2022-04-07 18:00 | 0.99497 | 0.99708
2022-04-07 19:00 | 0.99487 | 0.99701
2022-04-07 20:00 | 0.99747 | 0.997
2022-04-07 21:00 | 0.99746 | 0.99706
2022-04-07 22:00 | 0.99496 | 0.99699
2022-04-07 23:00 | 0.99499 | 0.99689
2022-04-08 | 0.99743 | 0.99687
2022-04-08 01:00 | 0.99733 | 0.99691
2022-04-08 02:00 | 0.99746 | 0.99687
2022-04-08 03:00 | 0.99745 | 0.99698
2022-04-08 04:00 | 0.99748 | 0.99697
2022-04-08 05:00 | 0.99745 | 0.99695
2022-04-08 06:00 | 0.99745 | 0.99706
2022-04-08 07:00 | 0.99747 | 0.99696
2022-04-08 08:00 | 0.99746 | 0.99691
2022-04-08 09:00 | 0.99748 | 0.9968
2022-04-08 10:00 | 0.99743 | 0.99696
2022-04-08 11:00 | 0.99746 | 0.99689
2022-04-08 12:00 | 0.9974 | 0.99676
2022-04-08 13:00 | 0.99746 | 0.99697
2022-04-08 14:00 | 0.99745 | 0.99692
2022-04-08 15:00 | 0.99732 | 0.99693
2022-04-08 16:00 | 0.99748 | 0.99686
2022-04-08 17:00 | 0.99743 | 0.99688
2022-04-08 18:00 | 0.99746 | 0.99695
2022-04-08 19:00 | 0.99747 | 0.99679
2022-04-08 20:00 | 0.99747 | 0.99678
2022-04-08 21:00 | 0.99746 | 0.99683
2022-04-08 22:00 | 0.99745 | 0.99693
2022-04-08 23:00 | 0.99748 | 0.99703
2022-04-09 | 0.99747 | 0.99689
2022-04-09 01:00 | 0.99744 | 0.99688
2022-04-09 02:00 | 0.99747 | 0.997
2022-04-09 03:00 | 0.99743 | 0.997
2022-04-09 04:00 | 0.99743 | 0.99699
2022-04-09 05:00 | 0.9974 | 0.99688
2022-04-09 06:00 | 0.99749 | 0.99701
2022-04-09 07:00 | 0.99747 | 0.99702
2022-04-09 08:00 | 0.99741 | 0.99699
2022-04-09 09:00 | 0.99747 | 0.99707
2022-04-09 10:00 | 0.99749 | 0.9971
2022-04-09 11:00 | 0.99745 | 0.99713
2022-04-09 12:00 | 0.99748 | 0.99709
2022-04-09 13:00 | 0.99747 | 0.99709
2022-04-09 14:00 | 0.99744 | 0.99707
2022-04-09 15:00 | 0.9974 | 0.99702
2022-04-09 16:00 | 0.99747 | 0.99702
2022-04-09 17:00 | 0.99742 | 0.99709
2022-04-09 18:00 | 0.99743 | 0.99705
2022-04-09 19:00 | 0.9974 | 0.99697
2022-04-09 20:00 | 0.99746 | 0.99695
2022-04-09 21:00 | 0.99749 | 0.99689
2022-04-09 22:00 | 0.99743 | 0.99697
2022-04-09 23:00 | 0.99739 | 0.99689
2022-04-10 | 0.99744 | 0.99688
2022-04-10 01:00 | 0.99744 | 0.9968
2022-04-10 02:00 | 0.99746 | 0.99693
2022-04-10 03:00 | 0.99746 | 0.99697
2022-04-10 04:00 | 0.99748 | 0.9971
2022-04-10 05:00 | 0.99746 | 0.997
2022-04-10 06:00 | 0.99744 | 0.99702
2022-04-10 07:00 | 0.99742 | 0.99695
2022-04-10 08:00 | 0.99747 | 0.99683
2022-04-10 09:00 | 0.99736 | 0.99701
2022-04-10 10:00 | 0.99743 | 0.99696
2022-04-10 11:00 | 0.99746 | 0.99688
2022-04-10 12:00 | 0.99744 | 0.99701
2022-04-10 13:00 | 0.99741 | 0.99706
2022-04-10 14:00 | 0.99745 | 0.997
2022-04-10 15:00 | 0.99742 | 0.99698
2022-04-10 16:00 | 0.99746 | 0.99699
2022-04-10 17:00 | 0.99748 | 0.99701
2022-04-10 18:00 | 0.99744 | 0.99695
2022-04-10 19:00 | 0.99742 | 0.99702
2022-04-10 20:00 | 0.9974 | 0.99695
2022-04-10 21:00 | 0.99747 | 0.99698
2022-04-10 22:00 | 0.99741 | 0.99698
2022-04-10 23:00 | 0.99749 | 0.99706
2022-04-11 | 0.99739 | 0.99702
2022-04-11 01:00 | 0.99744 | 0.99694
2022-04-11 02:00 | 0.99736 | 0.99696
2022-04-11 03:00 | 0.99745 | 0.99711
2022-04-11 04:00 | 0.99745 | 0.99712
2022-04-11 05:00 | 0.99748 | 0.99697
2022-04-11 06:00 | 0.99485 | 0.99705
2022-04-11 07:00 | 0.99744 | 0.99694
2022-04-11 08:00 | 0.99743 | 0.99692
2022-04-11 09:00 | 0.99486 | 0.99707
2022-04-11 10:00 | 0.99488 | 0.99699
2022-04-11 11:00 | 0.99493 | 0.99709
2022-04-11 12:00 | 0.99492 | 0.99706
2022-04-11 13:00 | 0.99742 | 0.99704
2022-04-11 14:00 | 0.9949 | 0.997
2022-04-11 15:00 | 0.99493 | 0.99692
2022-04-11 16:00 | 0.99747 | 0.99686
2022-04-11 17:00 | 0.99745 | 0.99692
2022-04-11 18:00 | 0.99746 | 0.99683
2022-04-11 19:00 | 0.99741 | 0.99699
2022-04-11 20:00 | 0.99499 | 0.99706
2022-04-11 21:00 | 0.99487 | 0.99709
2022-04-11 22:00 | 0.99492 | 0.99711
2022-04-11 23:00 | 0.98991 | 0.99705
2022-04-12 | 0.99472 | 0.99702
2022-04-12 01:00 | 0.99494 | 0.99707
2022-04-12 02:00 | 0.99494 | 0.99707
2022-04-12 03:00 | 0.9949 | 0.99697
2022-04-12 04:00 | 0.99487 | 0.99694
2022-04-12 05:00 | 0.99493 | 0.99691
2022-04-12 06:00 | 0.99492 | 0.99704
2022-04-12 07:00 | 0.99487 | 0.99713
2022-04-12 08:00 | 0.99488 | 0.99704
2022-04-12 09:00 | 0.99493 | 0.997
2022-04-12 10:00 | 0.99496 | 0.99712
2022-04-12 11:00 | 0.98979 | 0.99709
2022-04-12 12:00 | 0.99 | 0.9972
2022-04-12 13:00 | 0.98985 | 0.99711
2022-04-12 14:00 | 0.99492 | 0.99707
2022-04-12 15:00 | 0.99495 | 0.9971
2022-04-12 16:00 | 0.99494 | 0.99705
2022-04-12 17:00 |  | 0.99723
2022-04-12 18:00 | 0.98996 | 0.99704
2022-04-12 19:00 | 0.9897 | 0.99691
2022-04-12 20:00 | 0.98988 | 0.99701
2022-04-12 21:00 | 0.98997 | 0.99705
2022-04-12 22:00 | 0.98998 | 0.9972
2022-04-12 23:00 | 0.98961 | 0.99699

## coverage_interval
DateTime | M
2022-04-07 | 8.485019840713773e-22 - 8.840565086542964e-22
2022-04-07 01:00 | 8.481513363429573e-22 - 8.83523641664847e-22
2022-04-07 02:00 | 8.503077425485234e-22 - 8.828099230576078e-22
2022-04-07 03:00 | 8.496290434108668e-22 - 8.848705970791587e-22
2022-04-07 04:00 | 0.0009353697914758631 - 0.0009729739664001615
2022-04-07 05:00 | 0.021386666087205203 - 0.022288485907716364
2022-04-07 06:00 | 0.05950381476807399 - 0.06094302976408493
2022-04-07 07:00 | 0.08147827093290969 - 0.08342012101128975
2022-04-07 08:00 | 0.07331199974365837 - 0.07493547964333142
2022-04-07 09:00 | 0.08623738033127769 - 0.08839001051727124
2022-04-07 10:00 | 0.11022812875742222 - 0.11250591939356532
2022-04-07 11:00 | 0.13174489132767456 - 0.1339028574360688
2022-04-07 12:00 | 0.15763688479693438 - 0.1598876399046451
2022-04-07 13:00 | 0.15511459716471926 - 0.15743042618524974
2022-04-07 14:00 | 0.09483313982679022 - 0.09676746208626844
2022-04-07 15:00 | 0.09146609289993937 - 0.0935652720159451
2022-04-07 16:00 | 0.10158752785548757 - 0.10353724449433843
2022-04-07 17:00 | 0.09535676975392537 - 0.09740655611960651
2022-04-07 18:00 | 0.09487930058207882 - 0.0970655169758135
2022-04-07 19:00 | 0.11478675987316479 - 0.11739526702635979
2022-04-07 20:00 | 0.1485573545676342 - 0.15097296086706344
2022-04-07 21:00 | 0.14105078327386497 - 0.14311198064815353
2022-04-07 22:00 | 0.11712537994133598 - 0.11965541172722328
2022-04-07 23:00 | 0.11881611794390927 - 0.12137761454985928
2022-04-08 | 0.1553864096063812 - 0.15761950034197986
2022-04-08 01:00 | 0.1408256176140312 - 0.1428523640033793
2022-04-08 02:00 | 0.18379568999171997 - 0.1866297839667438
2022-04-08 03:00 | 0.170044076764302 - 0.1726125985130569
2022-04-08 04:00 | 0.16296514585705824 - 0.16538175068076538
2022-04-08 05:00 | 0.15729571528675904 - 0.15968540757789454
2022-04-08 06:00 | 0.13089766809650383 - 0.1330970134098969
2022-04-08 07:00 | 0.13389951697503522 - 0.13599357158781655
2022-04-08 08:00 | 0.16903591822391897 - 0.17138546882381353
2022-04-08 09:00 | 0.17445416713675646 - 0.17721555539737657
2022-04-08 10:00 | 0.15637348344024649 - 0.1589720392224169
2022-04-08 11:00 | 0.145102482285383 - 0.14717022174984493
2022-04-08 12:00 | 0.19719023468645555 - 0.20022455207534107
2022-04-08 13:00 | 0.2533898053771139 - 0.2568162926640613
2022-04-08 14:00 | 0.25683331116645436 - 0.2608021504470355
2022-04-08 15:00 | 0.2516203670374173 - 0.2555803701406039
2022-04-08 16:00 | 0.24851681443147944 - 0.25212370477528606
2022-04-08 17:00 | 0.2895657504920469 - 0.2941010573359766
2022-04-08 18:00 | 0.26733901301522206 - 0.2718755663597362
2022-04-08 19:00 | 0.2846304874300633 - 0.28887080817184685
2022-04-08 20:00 | 0.2761327868077996 - 0.28108368076388784
2022-04-08 21:00 | 0.2710554562327714 - 0.2746904592538326
2022-04-08 22:00 | 0.2702166426822232 - 0.27438835259504957
2022-04-08 23:00 | 0.2933807996444755 - 0.29775545931782693
2022-04-09 | 0.2682620352464994 - 0.27244771293604303
2022-04-09 01:00 | 0.26894156170833144 - 0.27299774443885627
2022-04-09 02:00 | 0.2839235162994025 - 0.2886349619755692
2022-04-09 03:00 | 0.28403211336146644 - 0.28820821870722985
2022-04-09 04:00 | 0.2512822267846391 - 0.2547672912977437
2022-04-09 05:00 | 0.25334094638220506 - 0.2575233834230664
2022-04-09 06:00 | 0.27034291642020286 - 0.2741393419079036
2022-04-09 07:00 | 0.30953834272796016 - 0.313826088520162
2022-04-09 08:00 | 0.3090984600951626 - 0.3136804748112883
2022-04-09 09:00 | 0.28126350011375784 - 0.2850331089798465
2022-04-09 10:00 | 0.26433874169769006 - 0.26865701636214
2022-04-09 11:00 | 0.2847082641980164 - 0.28892310289396317
2022-04-09 12:00 | 0.2544610626971999 - 0.25821927054810234
2022-04-09 13:00 | 0.2730609496874583 - 0.27711065145033753
2022-04-09 14:00 | 0.28017030808650173 - 0.2840099012168744
2022-04-09 15:00 | 0.2920251412885067 - 0.2965752338098547
2022-04-09 16:00 | 0.2700180462382113 - 0.274048590272163
2022-04-09 17:00 | 0.21141137972471744 - 0.21501875024147973
2022-04-09 18:00 | 0.1774379238649218 - 0.1803156774567828
2022-04-09 19:00 | 0.21981430737532467 - 0.22289560515416856
2022-04-09 20:00 | 0.18677522755652334 - 0.18965820414360882
2022-04-09 21:00 | 0.17728644686469944 - 0.18015033823821947
2022-04-09 22:00 | 0.19610764377649745 - 0.19904490508802508
2022-04-09 23:00 | 0.18552091120177616 - 0.18856490976037793
2022-04-10 | 0.16396654093808133 - 0.16622492482933637
2022-04-10 01:00 | 0.20032718024064083 - 0.20365479498433578
2022-04-10 02:00 | 0.2273626346023871 - 0.23062663372263087
2022-04-10 03:00 | 0.21500206562267943 - 0.2177532671547612
2022-04-10 04:00 | 0.19732579420068577 - 0.20002057031940154
2022-04-10 05:00 | 0.18757156227376226 - 0.19007233767187753
2022-04-10 06:00 | 0.18392894924924041 - 0.18681351681431088
2022-04-10 07:00 | 0.2111842792955963 - 0.21413200024382179
2022-04-10 08:00 | 0.19961093981341094 - 0.2026689054974808
2022-04-10 09:00 | 0.21723462983351569 - 0.22038430249029525
2022-04-10 10:00 | 0.2116145154959997 - 0.21506032194231448
2022-04-10 11:00 | 0.2280790808714683 - 0.23073104706224204
2022-04-10 12:00 | 0.24183845198394102 - 0.24561999477253968
2022-04-10 13:00 | 0.2342006763317044 - 0.23771962762613602
2022-04-10 14:00 | 0.24284154460397245 - 0.2465389050212977
2022-04-10 15:00 | 0.2349552425600974 - 0.23854275183573662
2022-04-10 16:00 | 0.23333673382605158 - 0.23674297591358043
2022-04-10 17:00 | 0.23875618113335034 - 0.24251720540456584
2022-04-10 18:00 | 0.2317740813596554 - 0.23566982665001995
2022-04-10 19:00 | 0.22404783602199024 - 0.22739216438757168
2022-04-10 20:00 | 0.24036608093637618 - 0.2444212083292225
2022-04-10 21:00 | 0.2319815581425794 - 0.23504424700779578
2022-04-10 22:00 | 0.2468132826975656 - 0.25065084966452567
2022-04-10 23:00 | 0.24542632163891576 - 0.24907090052169975
2022-04-11 | 0.2539345353862353 - 0.2577177698013896
2022-04-11 01:00 | 0.25699456540968857 - 0.26128284367100135
2022-04-11 02:00 | 0.2634472568376878 - 0.2674354095683536
2022-04-11 03:00 | 0.17511424101088566 - 0.1775933802317485
2022-04-11 04:00 | 0.15666611724364232 - 0.1590908071288209
2022-04-11 05:00 | 0.15302817653201883 - 0.1554653066978656
2022-04-11 06:00 | 0.0887909287621983 - 0.09083784892746144
2022-04-11 07:00 | 0.1569627103802518 - 0.15916831072645304
2022-04-11 08:00 | 0.1598806764044891 - 0.16241370809313718
2022-04-11 09:00 | 0.11615146131929112 - 0.11877719696206397
2022-04-11 10:00 | 0.08382669432068279 - 0.08593603446124806
2022-04-11 11:00 | 0.0846082320278807 - 0.08634771462544023
2022-04-11 12:00 | 0.09149916590556004 - 0.09349768845351421
2022-04-11 13:00 | 0.13562492814320842 - 0.13770369828440018
2022-04-11 14:00 | 0.11810660989334061 - 0.12050921682348556
2022-04-11 15:00 | 0.10026696640327161 - 0.10276170396086491
2022-04-11 16:00 | 0.1369239786670163 - 0.13927578614341324
2022-04-11 17:00 | 0.1490181615706769 - 0.1511902808526342
2022-04-11 18:00 | 0.1400803460922564 - 0.14219097685443297
2022-04-11 19:00 | 0.1270310134780364 - 0.1286548022489849
2022-04-11 20:00 | 0.11652521587336274 - 0.11908037539199261
2022-04-11 21:00 | 0.0818857500005521 - 0.08377265571569453
2022-04-11 22:00 | 0.0823781032423538 - 0.08418408368715274
2022-04-11 23:00 | 0.030681620447638423 - 0.03189611198774717
2022-04-12 | 0.03887638782797619 - 0.03976820157301036
2022-04-12 01:00 | 0.10185219923752369 - 0.10418393863771172
2022-04-12 02:00 | 0.09068011377942867 - 0.09265081748918702
2022-04-12 03:00 | 0.06849123340796688 - 0.07006867715419436
2022-04-12 04:00 | 0.06134413804894313 - 0.06289332964344971
2022-04-12 05:00 | 0.0672649461633724 - 0.06863590018545453
2022-04-12 06:00 | 0.09186740320302497 - 0.09399887504379496
2022-04-12 07:00 | 0.06470977379632314 - 0.06620686346013788
2022-04-12 08:00 | 0.0622995595677113 - 0.06373769979473562
2022-04-12 09:00 | 0.04895706711768989 - 0.04994960223577007
2022-04-12 10:00 | 0.06781722659594236 - 0.06923026181710126
2022-04-12 11:00 | 0.03018959819787039 - 0.03140307386653776
2022-04-12 12:00 | 0.025546670964121887 - 0.026603127090380287
2022-04-12 13:00 | 0.02659492064072425 - 0.02766085181465816
2022-04-12 14:00 | 0.04788457166686842 - 0.048892402202135046
2022-04-12 15:00 | 0.048776913992622864 - 0.049800571539187974
2022-04-12 16:00 | 0.04527850752069525 - 0.04616473734554439
2022-04-12 17:00 | 8.511235263885703e-22 - 8.871569516125431e-22
2022-04-12 18:00 | 0.0016911371014431608 - 0.0017652311153348369
2022-04-12 19:00 | 0.014368004267065599 - 0.014954361177026938
2022-04-12 20:00 | 0.02092485501281172 - 0.021830403948214866
2022-04-12 21:00 | 0.016385801975625076 - 0.017036203607212932
2022-04-12 22:00 | 0.02105997154316967 - 0.02196561378990097
2022-04-12 23:00 | 0.006291543241203808 - 0.006544857756461406

## correlation_matrix
DateTime | R(quantity,D)
2022-04-07 | 0
2022-04-07 01:00 | 0
2022-04-07 02:00 | 0
2022-04-07 03:00 | 0
2022-04-07 04:00 | 0
2022-04-07 05:00 | 0
2022-04-07 06:00 | 0
2022-04-07 07:00 | 0
2022-04-07 08:00 | 0
2022-04-07 09:00 | 0
2022-04-07 10:00 | 0
2022-04-07 11:00 | 0
2022-04-07 12:00 | 0
2022-04-07 13:00 | 0
2022-04-07 14:00 | 0
2022-04-07 15:00 | 0
2022-04-07 16:00 | 0
2022-04-07 17:00 | 0
2022-04-07 18:00 | 0
2022-04-07 19:00 | 0
2022-04-07 20:00 | 0
2022-04-07 21:00 | 0
2022-04-07 22:00 | 0
2022-04-07 23:00 | 0
2022-04-08 | 0
2022-04-08 01:00 | 0
2022-04-08 02:00 | 0
2022-04-08 03:00 | 0
2022-04-08 04:00 | 0
2022-04-08 05:00 | 0
2022-04-08 06:00 | 0
2022-04-08 07:00 | 0
2022-04-08 08:00 | 0
2022-04-08 09:00 | 0
2022-04-08 10:00 | 0
2022-04-08 11:00 | 0
2022-04-08 12:00 | 0
2022-04-08 13:00 | 0
2022-04-08 14:00 | 0
2022-04-08 15:00 | 0
2022-04-08 16:00 | 0
2022-04-08 17:00 | 0
2022-04-08 18:00 | 0
2022-04-08 19:00 | 0
2022-04-08 20:00 | 0
2022-04-08 21:00 | 0
2022-04-08 22:00 | 0
2022-04-08 23:00 | 0
2022-04-09 | 0
2022-04-09 01:00 | 0
2022-04-09 02:00 | 0
2022-04-09 03:00 | 0
2022-04-09 04:00 | 0
2022-04-09 05:00 | 0
2022-04-09 06:00 | 0
2022-04-09 07:00 | 0
2022-04-09 08:00 | 0
2022-04-09 09:00 | 0
2022-04-09 10:00 | 0
2022-04-09 11:00 | 0
2022-04-09 12:00 | 0
2022-04-09 13:00 | 0
2022-04-09 14:00 | 0
2022-04-09 15:00 | 0
2022-04-09 16:00 | 0
2022-04-09 17:00 | 0
2022-04-09 18:00 | 0
2022-04-09 19:00 | 0
2022-04-09 20:00 | 0
2022-04-09 21:00 | 0
2022-04-09 22:00 | 0
2022-04-09 23:00 | 0
2022-04-10 | 0
2022-04-10 01:00 | 0
2022-04-10 02:00 | 0
2022-04-10 03:00 | 0
2022-04-10 04:00 | 0
2022-04-10 05:00 | 0
2022-04-10 06:00 | 0
2022-04-10 07:00 | 0
2022-04-10 08:00 | 0
2022-04-10 09:00 | 0
2022-04-10 10:00 | 0
2022-04-10 11:00 | 0
2022-04-10 12:00 | 0
2022-04-10 13:00 | 0
2022-04-10 14:00 | 0
2022-04-10 15:00 | 0
2022-04-10 16:00 | 0
2022-04-10 17:00 | 0
2022-04-10 18:00 | 0
2022-04-10 19:00 | 0
2022-04-10 20:00 | 0
2022-04-10 21:00 | 0
2022-04-10 22:00 | 0
2022-04-10 23:00 | 0
2022-04-11 | 0
2022-04-11 01:00 | 0
2022-04-11 02:00 | 0
2022-04-11 03:00 | 0
2022-04-11 04:00 | 0
2022-04-11 05:00 | 0
2022-04-11 06:00 | 0
2022-04-11 07:00 | 0
2022-04-11 08:00 | 0
2022-04-11 09:00 | 0
2022-04-11 10:00 | 0
2022-04-11 11:00 | 0
2022-04-11 12:00 | 0
2022-04-11 13:00 | 0
2022-04-11 14:00 | 0
2022-04-11 15:00 | 0
2022-04-11 16:00 | 0
2022-04-11 17:00 | 0
2022-04-11 18:00 | 0
2022-04-11 19:00 | 0
2022-04-11 20:00 | 0
2022-04-11 21:00 | 0
2022-04-11 22:00 | 0
2022-04-11 23:00 | 0
2022-04-12 | 0
2022-04-12 01:00 | 0
2022-04-12 02:00 | 0
2022-04-12 03:00 | 0
2022-04-12 04:00 | 0
2022-04-12 05:00 | 0
2022-04-12 06:00 | 0
2022-04-12 07:00 | 0
2022-04-12 08:00 | 0
2022-04-12 09:00 | 0
2022-04-12 10:00 | 0
2022-04-12 11:00 | 0
2022-04-12 12:00 | 0
2022-04-12 13:00 | 0
2022-04-12 14:00 | 0
2022-04-12 15:00 | 0
2022-04-12 16:00 | 0
2022-04-12 17:00 | 0
2022-04-12 18:00 | 0
2022-04-12 19:00 | 0
2022-04-12 20:00 | 0
2022-04-12 21:00 | 0
2022-04-12 22:00 | 0
2022-04-12 23:00 | 0